CHAPTER 5

Usability Evaluation of the Energy Digital Twin
for Smart Building Management

────────────────────────────────────────────────────────────

5.1  Introduction

The development of the Energy Digital Twin (EDT) for the GATE Institute building represented a significant step toward intelligent, data-driven building management. However, a technological artefact — however sophisticated — derives its practical value only insofar as its intended users can interact with it effectively and derive actionable insight from it. Accordingly, this chapter presents the design, rationale, and execution of a structured usability evaluation conducted to assess whether the EDT platform meets the information needs of a diverse range of building stakeholders.

The evaluation was conducted by the researcher, Joan Waithira Njoroge, as part of the Master of Science in Spatial Engineering programme at the University of Twente. The study combined quantitative feature-level ratings with qualitative task observations and open-ended feedback, producing a multidimensional picture of user experience. An AI-assisted summarisation layer was incorporated into the survey instrument to provide immediate, participant-specific recaps that could support iterative reflection during data collection.

The remainder of this chapter is organised as follows. Section 5.2 situates the evaluation within the broader research objectives. Section 5.3 describes the study design and methodological choices. Section 5.4 details the survey instrument and its constituent stages. Section 5.5 characterises the participant sample. Section 5.6 presents the procedural protocol. Section 5.7 describes the feature evaluation framework. Section 5.8 outlines the data collection and storage infrastructure. Section 5.9 addresses ethical considerations, and Section 5.10 summarises the chapter.

5.2  Research Objectives and Evaluation Goals

The overarching research question guiding this phase of the study is: To what extent does the Energy Digital Twin platform support the information needs of diverse building stakeholders in understanding, monitoring, and acting upon building energy performance data? This question was operationalised into four specific evaluation objectives:

Assess the navigability and intuitiveness of the 3D building interface across stakeholder groups with varying levels of technical expertise.

Evaluate the clarity and communicative effectiveness of the platform's eight core feature modules — namely the 3D Building Viewer, Energy Monitoring, Solar & Battery, Room Air Quality (IAQ), Fault Detection, Scenarios, Forecast, and Role-Specific Dashboard.

Determine the perceived utility of AI-assisted decision support, specifically the conversational assistant embedded within the platform, in helping stakeholders interpret data and identify recommended actions.

Identify the features most and least valued by participants, and collect qualitative evidence of usability barriers that may inform future development iterations.

These objectives were designed to generate both summative evidence — suitable for validating the current design — and formative evidence that can guide iterative refinement of the platform prior to operational deployment.

5.3  Study Design

5.3.1  Research Approach

A mixed-methods, task-based usability study was employed. This design combines structured task scenarios — in which participants are asked to complete representative activities within the platform — with Likert-scale feature ratings, forced-choice questions, and free-text open responses. This combination is consistent with established practice in user experience research (Nielsen, 1994; Rubin & Chisnell, 2008) and aligns with the ISO 9241-11:2018 definition of usability as the degree to which a product can be used by specified users to achieve specified goals with effectiveness, efficiency, and satisfaction.

A key design decision was to deliver the evaluation in an unmoderated, remote format. Participants accessed the survey instrument and the live EDT platform independently, without a researcher present. This choice was motivated by two considerations. First, it enabled participation by stakeholders distributed across organisational and geographic contexts, including facilities managers, sustainability officers, and external visitors who could not conveniently be co-located with the researcher. Second, an unmoderated setting reduces social desirability bias — participants are less likely to moderate their responses based on perceived researcher expectations when completing the survey privately.

5.3.2  Relationship to the Broader Research Design

This usability evaluation constitutes the validation phase of the research and sits downstream of the design and implementation phases described in earlier chapters. The evaluation is not intended to produce generalisable findings about digital twins in general; rather, it serves to validate a specific artefact — the GATE Institute EDT — against the functional and communicative requirements identified during the design phase. The sample size and participant selection were therefore guided by purposive criteria (representation of the platform's intended stakeholder groups) rather than probabilistic criteria.

5.4  The Survey Instrument

A bespoke, browser-based survey application — RateMyApp — was developed specifically for this evaluation and hosted via Netlify at a publicly accessible URL. The instrument was structured into seven sequential stages, each serving a distinct methodological purpose. Table 5.1 provides an overview of the stages and their primary data collection function.

| Stage | Title | Primary Function |
| --- | --- | --- |
| 1 | Participant Information & Consent | Ethical disclosure; informed consent capture |
| 2 | Role & Affiliation Selection | Participant stratification by stakeholder type and organisation |
| 3 | Guided Platform Tour | Contextual orientation; exposure to all major features before tasks |
| 4 | Task-Based Testing | Behavioural evidence of navigability across three guided tasks |
| 5 | Feature Ratings | Quantitative usefulness ratings (1–5 Likert) per feature module |
| 6 | Open Feedback | Qualitative evidence: impressions, barriers, adoption intent |
| 7 | Thank You & AI Summary | Participant-facing recap; AI summary saved to research database |

Table 5.1. Structure of the RateMyApp survey instrument.

5.4.1  Stage 1: Participant Information and Informed Consent

The first stage presented participants with a structured participant information sheet. In compliance with the ethical guidelines of the University of Twente and the principles of the Declaration of Helsinki, the information sheet detailed the purpose of the study, the nature of participation, the anonymisation of data, the voluntary nature of participation, and participants' right to withdraw at any stage without consequence. Consent was captured via an explicit checkbox, and only participants who actively confirmed their agreement could proceed to subsequent stages. No data beyond the consent confirmation itself was recorded prior to the checkbox being checked.

5.4.2  Stage 2: Role and Affiliation Selection

Participants were asked to self-identify their professional role from a predefined list of six stakeholder archetypes identified during the platform's requirements analysis phase. These archetypes were: Building Director or Management, Facilities Manager, Sustainability Officer, IT Staff, Office Worker, and External Visitor or Stakeholder. Role self-identification served two purposes: it enabled stratified analysis of responses by stakeholder group, and it informed the adaptive content in Stage 4, where task framing could be contextualised to the participant's declared role.

Participants additionally indicated their organisational affiliation — University of Twente, GATE Institute, or Other — providing a secondary stratification variable for analysis.

5.4.3  Stage 3: Guided Platform Tour

Prior to undertaking the structured tasks, participants were presented with a guided orientation stage. An embedded live preview of the EDT platform was made available via an inline iframe, with a direct link to open the platform in a full browser tab for participants who preferred a larger viewing environment. The guided tour stage encouraged participants to explore the platform for approximately two minutes, with explicit prompts to: (1) scan the main navigation and replay panel; (2) open at least two feature tabs; and (3) identify which view seemed most immediately relevant to their declared role.

The tour stage was methodologically important for two reasons. First, it reduced the cognitive load associated with encountering an unfamiliar interface cold before being asked to perform structured tasks. Second, it provided each participant with comparable baseline exposure to the platform's structure, mitigating the effect of prior familiarity differences on task performance ratings.

5.4.4  Stage 4: Task-Based Testing

Stage 4 constituted the primary behavioural component of the evaluation. Participants were guided through three structured tasks that represented core use cases of the EDT platform. Each task was presented with a step-by-step checklist of suggested actions, a follow-up question assessing ease of completion, and an optional open-text field for qualitative notes. Table 5.2 summarises the three tasks and their associated follow-up questions.

| Task | Heading | Follow-Up Question | Response Options |
| --- | --- | --- | --- |
| 1 | Explore the Building and Select a View | Could you find and navigate to different areas easily? | Very easy / Somewhat easy / Difficult |
| 2 | Inspect Building Conditions Using Dashboards and Heatmaps | Was it clear what the building conditions are? | Very clear / Somewhat clear / Unclear |
| 3 | Use the AI Assistant for Decision Support | Did the AI insights help you understand what actions might be needed? | Very helpful / Somewhat helpful / Not helpful |

Table 5.2. Task-based evaluation scenarios and follow-up questions.

Task 1 assessed three-dimensional spatial navigation — the ability to orient oneself within the 3D building model and locate specific areas. This task directly evaluated one of the platform's foundational capabilities and is of particular relevance to stakeholders whose role involves physical building management.

Task 2 assessed the participant's ability to use the dashboard and heatmap panels to understand live and replayed building conditions, including energy consumption by circuit, and indoor air quality metrics (temperature, humidity, and CO₂) by room. This task evaluated the communicative clarity of the platform's data visualisations.

Task 3 assessed the perceived utility of the conversational AI assistant embedded within the platform. Participants were instructed to ask the assistant questions about the building — including spatially anchored queries (e.g., 'show me elevators') and data-oriented queries (e.g., 'current temperature in the conference room') — and to note whether the AI's responses helped them identify actionable next steps. This task was designed to assess the value-add of AI-mediated decision support over direct dashboard inspection.

5.4.5  Stage 5: Feature Ratings

Having interacted with the platform through the tour and structured tasks, participants were asked to rate each of the eight core feature modules on a five-point Likert scale anchored at 1 (not useful) and 5 (very useful). An optional free-text comment field was provided for each feature, allowing participants to specify what worked well, what was unclear, or what should be changed. Participants additionally completed two dropdown selections: which feature they would use most often in their daily work, and which feature they considered in most need of improvement.

The eight features evaluated were: (1) 3D Building Viewer, (2) Energy Monitoring, (3) Solar & Battery, (4) Room Air Quality, (5) Fault Detection, (6) Scenarios, (7) Forecast, and (8) Role-Specific Dashboard. These features correspond directly to the functional modules implemented in the platform and to the user stories collected during the requirements analysis phase of the research.

5.4.6  Stage 6: Open Feedback

The penultimate stage collected holistic impressions of the platform through a combination of structured and open-ended questions. An overall satisfaction rating was captured using a five-point emoji-anchored scale, labelled from 'Needs a lot of work' to 'Exceptional'. Participants were then asked four open-text questions: what they found most useful or impressive; what they found confusing, missing, or frustrating; whether they would use the system in their daily work (four-option forced choice); and any additional comments, ideas, or questions.

Participants were additionally offered the option to provide their name and email address. These fields were explicitly marked as optional and were included solely to facilitate follow-up contact if participants wished to share further thoughts with the researcher. The consent information presented in Stage 1 explicitly stated that no identifying information was required for participation.

5.4.7  Stage 7: AI-Generated Summary and Database Storage

Upon survey submission, participants were presented with a personalised AI-generated summary of their responses on the thank-you page. This summary was produced by the OpenAI language model via the application's backend (a Netlify serverless function), drawing on the participant's role, task outcomes, feature ratings, and open-text comments to construct a concise, research-style recap. In cases where the AI generation endpoint was unavailable, a deterministic fallback function generated a structured narrative from the same data fields.

All responses — including the AI-generated summary — were stored in a Supabase PostgreSQL database via a secure serverless function. The database used row-level security policies and service-role authentication to prevent unauthorised direct access. A dual-database architecture was implemented, with a primary and a secondary Supabase instance, to provide data redundancy. The survey responses were stored as structured records containing task outcomes, individual feature ratings, open-text responses, timestamps, and AI summaries.

5.5  Participant Sample

5.5.1  Sampling Strategy

Participants were recruited through purposive sampling, targeting individuals with professional or academic connections to the GATE Institute building and to smart building management more broadly. Recruitment channels included direct outreach within the University of Twente, communication with GATE Institute staff, and distribution to professional contacts in the facilities management and sustainability sectors. The survey was designed to be accessible to participants without prior familiarity with the EDT platform, ensuring that usability findings would reflect first-exposure experiences rather than trained user performance.

5.5.2  Stakeholder Roles and Affiliations

The six stakeholder archetypes included in the survey were informed by the user role analysis conducted during the platform design phase. Each archetype represents a distinct set of information needs and interaction patterns with building management data. Table 5.3 summarises the archetypes and their characteristic perspectives.

| Role | Primary Perspective | Key Information Needs |
| --- | --- | --- |
| Building Director / Management | Strategic decisions, costs, sustainability | Energy cost, carbon performance, capital investment cases |
| Facilities Manager | Day-to-day operations, maintenance, equipment | Fault alerts, circuit-level anomalies, equipment status |
| Sustainability Officer | Carbon reporting, energy targets, green goals | Solar yield, consumption trends, scenario modelling |
| IT Staff | Systems, servers, infrastructure | Data connectivity, system reliability, sensor status |
| Office Worker | Daily comfort, indoor environment | Room temperature, CO₂ levels, humidity conditions |
| External Visitor / Stakeholder | Project review, external oversight | Overall platform legibility, headline metrics |

Table 5.3. Stakeholder archetypes and characteristic information needs.

This role diversity was an intentional design choice. An energy digital twin intended for a multi-stakeholder building environment must serve users whose technical literacy, data fluency, and task priorities differ substantially. A usability evaluation that sampled from a single stakeholder group — for example, only facilities managers — would generate findings of limited generalisability to the platform's intended user population.

5.6  Evaluation Procedure

5.6.1  Access and Orientation

Participants received a short briefing message — distributed via email or direct communication — explaining that they were invited to evaluate a digital building management platform as part of a Master's thesis research project. The message provided a direct link to the survey URL and confirmed that the evaluation was expected to take approximately five to ten minutes to complete, with an additional two to five minutes of platform exploration time.

No preparatory materials, tutorials, or prior exposure to the platform were provided before the survey. This design decision was deliberate: the evaluation was intended to capture the impressions and difficulties experienced by a new user encountering the platform for the first time, which is the most ecologically valid context for assessing usability in the platform's early deployment phase.

5.6.2  Session Flow

Upon accessing the survey URL, participants encountered the consent and information stage. Once consent was confirmed, they selected their role and affiliation, then entered the guided tour stage. The live EDT platform was accessible throughout the session — participants could interact with it through the embedded preview or in a separate browser tab. After the tour, participants completed the three structured tasks sequentially, recording their outcomes and optional notes in the survey interface without leaving the platform context. The feature rating stage followed, succeeded by the open feedback stage. On submitting their feedback, participants were presented with the AI-generated summary and a thank-you page providing access to a link for the full platform and researcher contact information.

5.6.3  Survey Progress Persistence

To accommodate participants who could not complete the evaluation in a single sitting, the survey instrument implemented client-side progress persistence via the browser's localStorage API. Incomplete survey state was automatically saved at each step change, and returning participants were offered the option to resume from their last completed stage or restart from the beginning. This mechanism ensured that partial responses were not lost due to interruptions, improving data completeness without requiring participant accounts or server-side session management.

5.7  Feature Evaluation Framework

The selection and grouping of features for the rating stage was grounded in the platform's functional architecture. The eight rated modules collectively span the platform's primary analytical and operational capabilities: spatial understanding (3D Viewer), real-time operational data (Energy Monitoring, IAQ, Fault Detection), energy generation and storage (Solar & Battery), planning and forecasting (Scenarios, Forecast), and personalisation (Role Dashboard). Table 5.4 maps each feature to its functional category and the key user story it addresses.

| Feature Module | Category | Key User Story |
| --- | --- | --- |
| 3D Building Viewer | Spatial Understanding | Navigate the building model to understand spatial layout and locate specific areas or systems. |
| Energy Monitoring | Operational Data | Inspect circuit-level power demand and identify consumption patterns in real time or through replay. |
| Solar & Battery | Energy Generation | Track solar panel output and battery storage state to understand renewable energy contribution. |
| Room Air Quality (IAQ) | Operational Data | Review temperature, humidity, and CO₂ levels by room to assess occupant comfort and wellbeing. |
| Fault Detection | Operational Data | Receive automatic alerts for equipment faults with likely causes and recommended corrective actions. |
| Scenarios | Planning & Decision Support | Model the energy impact of proposed changes (e.g., equipment replacement, scheduling adjustments). |
| Forecast | Planning & Decision Support | View seven-day predictions for energy consumption and cost to support operational planning. |
| Role-Specific Dashboard | Personalisation | Access a curated view of the metrics most relevant to the user's declared role and responsibilities. |

Table 5.4. Feature modules, functional categories, and key user stories.

Each feature was rated on a five-point scale, with the scale endpoints labelled as 1 = not useful and 5 = very useful. This formulation intentionally captured perceived utility rather than perceived ease of use, reflecting the evaluation's emphasis on whether the platform's analytical outputs supported informed decision-making, not solely whether the interface was navigable. Ease-of-use evidence was captured separately through the task completion outcomes in Stage 4.

5.8  Data Collection and Storage Infrastructure

Survey responses were collected and persisted via a serverless backend architecture. On submission of each stage's data, a JavaScript fetch call from the client transmitted a structured JSON payload to a Netlify Functions endpoint (/.netlify/functions/save-response). The serverless function authenticated to the Supabase database using a service-role key stored as a Netlify environment variable — never exposed to the client — and issued a PostgreSQL upsert against the survey_responses table, using the session's started_at timestamp as the conflict resolution key. This upsert mechanism ensured that the initial response record and the subsequent AI-summary update were stored as a single cohesive row rather than duplicate entries.

The database schema comprised a single survey_responses table with columns capturing all quantitative and qualitative response fields, together with temporal metadata (started_at, created_at) enabling the calculation of session duration. Row-level security was enabled on the table with a restrictive policy preventing direct public access; all read and write operations were mediated exclusively by the authenticated serverless functions. The admin dashboard accessed response data through a separate Netlify Functions endpoint (/.netlify/functions/list-responses), ensuring that the service-role key was never accessible from the browser.

An interaction evidence score was computed algorithmically for each response in the admin dashboard, based on seven binary signals: whether all three tasks were answered; whether at least two tasks were completed easily; whether all eight feature ratings were provided; whether at least one substantial written comment was left; whether the AI decision-support question was answered; whether an overall rating was given; and whether a measurable session duration existed. The score, expressed as a percentage of signals achieved, served as an indicator of response quality and depth of platform engagement for use during data analysis.

5.9  Ethical Considerations

The study was designed in accordance with the ethical requirements of the University of Twente and the principles of research integrity. Participation was entirely voluntary: the consent stage clearly communicated that participants could withdraw at any stage without consequence, and that the data from any withdrawn participant would not be used in analysis. Responses were anonymised by default — no participant was required to provide their name, email address, or any other personally identifying information. The optional name and email fields in Stage 6 were explicitly labelled as optional and were included solely to facilitate researcher follow-up if the participant chose to initiate contact.

Data was stored on secure cloud infrastructure (Supabase) with access restricted to the researcher and academic supervisors via role-based key authentication. No data was shared with third parties. The AI summary generation involved transmission of response data to the OpenAI API; this was disclosed implicitly through the survey's explanation of the AI summary feature, and only anonymised, non-identifying response content was transmitted. No sensitive personal data — as defined under the General Data Protection Regulation — was collected or processed.

Participants were 18 years of age or older by confirmation at the consent stage. The study posed no known risks to participants, and participation offered no direct personal benefit beyond the intrinsic satisfaction of contributing to research aimed at improving smart building management tools. The participant information sheet and consent form were reviewed and approved as part of the thesis supervision process at the University of Twente.

5.10  Chapter Summary

This chapter has described the design, rationale, and execution of a structured usability evaluation of the Energy Digital Twin platform developed for the GATE Institute. The evaluation employed a mixed-methods, task-based approach delivered through a purpose-built browser survey instrument. Seven survey stages collected informed consent, participant stratification data, task performance evidence, quantitative feature ratings, and qualitative open feedback from a purposively recruited sample of building stakeholders spanning six professional archetypes.

The evaluation was designed to generate both summative validation evidence — demonstrating whether the platform meets its core usability requirements — and formative diagnostic evidence to inform iterative improvement. An AI-assisted summarisation component provided immediate participant-level recaps stored alongside the full response record. A secure, serverless data infrastructure ensured that all response data was persistently and reliably stored throughout the data collection period.

The findings of the evaluation — including quantitative feature rating distributions, task completion rates, adoption intent, and thematic analysis of qualitative feedback — are presented and interpreted in Chapter 6.

References

International Organization for Standardization. (2018). ISO 9241-11:2018 Ergonomics of human-system interaction — Part 11: Usability: Definitions and concepts. ISO.

Nielsen, J. (1994). Usability Engineering. Morgan Kaufmann.

Rubin, J., & Chisnell, D. (2008). Handbook of Usability Testing: How to Plan, Design, and Conduct Effective Tests (2nd ed.). Wiley.

Vermesan, O., & Friess, P. (Eds.). (2014). Internet of Things — From Research and Innovation to Market Deployment. River Publishers.

Pérez-Lombard, L., Ortiz, J., & Pout, C. (2008). A review on buildings energy consumption information. Energy and Buildings, 40(3), 394–398.